## Cover
政 府 化 驗 所 |  |  |  |  | GOVERNMENT LABORATORY
Toxic Air Pollutants - Volatile Organic Compounds (VOCs)
Lab. No. : 21A580
Sample I.D.* (Canister No.):
TWSVCS210307 (A0074256)
Canister No. |  | Sample I.D.* | Pressure |  | Pressure |  | Pressure
|  |  | Measured |  | Measured |  | Difference
|  |  | On Site* |  | at GL |  | (%)
A0074256 |  | TWSVCS210307 | 17 | psi | 17 | psi | 0%
Remarks: 1. | A pressure drop of greater than 6% upon receipt indicates that the canister may leak after sampling.
2. | The pressure of the canisters was measured at the Government Laboratory using pressure gauges
supplied by EPD.
Page 2 of 6

## Report 43
TWSVCS210307 (A0074256)
Freon 12 |  | 0.45 | 2.2 | * | 0.34 | 1.7 | * | 0.70 | 3.5 | * | 0.10 | 0.48 | * | 0.58 | 2.9 | * | 1.1 | 5.5 | * | 1.9 | 9.3 | * | 1.4 | 6.8 | * | 1.1 | 5.3 | * | 1.1 | 5.5
Chloromethane |  | 0.62 | 1.3 |  | 1.7 | 3.6 | * | 1.3 | 2.8 |  | <0.02 | <0.04 | * | 0.94 | 1.9 | * | 1.0 | 2.1 | * | 1.8 | 3.8 | * | 1.7 | 3.5 | * | 1.1 | 2.2 | * | 1.0 | 2.1
Freon 114 |  | <0.02 | <0.14 |  | <0.02 | <0.14 |  | 0.05 | 0.35 |  | 0.04 | 0.30 | * | 0.08 | 0.53 |  | 0.02 | 0.17 | * | 0.04 | 0.31 |  | 0.05 | 0.35 |  | 0.02 | 0.17 |  | 0.02 | 0.17
Chloroethene |  | <0.02 | <0.05 |  | <0.02 | <0.05 |  | 0.04 | 0.11 |  | 0.04 | 0.11 | * | 0.07 | 0.18 |  | <0.02 | <0.05 |  | <0.02 | <0.05 |  | <0.02 | <0.05 |  | <0.02 | <0.05 |  | <0.02 | <0.05
Bromomethane |  | <0.02 | <0.08 |  | 0.03 | 0.13 |  | 0.09 | 0.35 |  | 0.11 | 0.44 |  | 0.18 | 0.68 |  | 0.09 | 0.34 |  | 0.14 | 0.55 |  | 0.08 | 0.32 |  | 0.06 | 0.25 |  | 0.09 | 0.34
Chloroethane |  | <0.02 | <0.05 |  | 0.04 | 0.10 |  | 0.06 | 0.16 |  | 0.23 | 0.61 |  | 0.06 | 0.17 |  | <0.02 | <0.05 |  | 0.04 | 0.09 |  | <0.02 | <0.05 |  | <0.02 | <0.05 |  | <0.02 | <0.05
Freon 11 |  | 0.21 | 1.2 |  | 0.29 | 1.6 |  | 0.39 | 2.2 |  | 0.28 | 1.6 |  | 0.37 | 2.1 |  | 0.78 | 4.4 |  | 1.0 | 5.6 |  | 1.00 | 5.6 |  | 0.76 | 4.3 |  | 0.78 | 4.4
1,1-Dichloroethene |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.04 | 0.15 |  | 0.05 | 0.19 |  | 0.08 | 0.30 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
Methylene chloride |  | 0.11 | 0.37 |  | 0.42 | 1.5 |  | 1.4 | 4.8 |  | 0.50 | 1.7 |  | 1.8 | 6.4 |  | 0.56 | 1.9 |  | 1.4 | 5.0 |  | 0.45 | 1.6 |  | 0.90 | 3.1 |  | 0.56 | 1.9
Freon 113 |  | 0.07 | 0.57 |  | 0.10 | 0.76 |  | 0.13 | 1.0 |  | 0.14 | 1.1 |  | 0.18 | 1.4 |  | 0.13 | 1.0 |  | 0.23 | 1.8 |  | 0.19 | 1.5 |  | 0.12 | 0.93 |  | 0.13 | 1.0
1,1-Dichloroethane |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.05 | 0.19 |  | 0.05 | 0.18 |  | 0.07 | 0.27 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
cis-1,2-Dichloroethene |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.04 | 0.14 |  | 0.04 | 0.17 |  | 0.06 | 0.22 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
Chloroform |  | 0.03 | 0.14 |  | 0.05 | 0.23 |  | 0.18 | 0.89 |  | 0.08 | 0.41 |  | 0.33 | 1.6 |  | 0.16 | 0.80 |  | 0.44 | 2.2 |  | 0.14 | 0.68 |  | 0.16 | 0.80 |  | 0.16 | 0.80
1,2-Dichloroethane |  | <0.02 | <0.08 |  | 0.03 | 0.12 |  | 0.47 | 1.9 | * | 0.05 | 0.19 | * | 0.06 | 0.26 |  | <0.02 | <0.08 | * | 0.03 | 0.12 |  | <0.02 | <0.08 | * | 0.03 | 0.12 |  | <0.02 | <0.08
1,1,1-Trichloroethane |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.05 | 0.26 |  | 0.06 | 0.32 |  | 0.11 | 0.59 |  | 0.10 | 0.56 |  | 0.15 | 0.82 |  | 0.09 | 0.49 |  | 0.08 | 0.43 |  | 0.10 | 0.56
Benzene |  | <0.02 | <0.06 |  | 0.16 | 0.53 |  | 0.70 | 2.2 |  | 0.21 | 0.68 |  | 0.33 | 1.0 |  | 0.22 | 0.71 |  | 0.41 | 1.3 |  | 0.15 | 0.49 |  | 0.31 | 0.98 |  | 0.22 | 0.71
Carbon tetrachloride |  | 0.07 | 0.47 |  | 0.10 | 0.64 |  | 0.14 | 0.89 |  | 0.07 | 0.46 |  | 0.12 | 0.75 |  | 0.15 | 0.91 |  | 0.28 | 1.8 |  | 0.20 | 1.2 |  | 0.15 | 0.96 |  | 0.15 | 0.91
1,2-Dichloropropane |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.14 | 0.63 |  | 0.09 | 0.40 |  | 0.07 | 0.33 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
Trichloroethene |  | <0.02 | <0.11 |  | 0.03 | 0.14 |  | 0.16 | 0.89 |  | 0.40 | 2.1 |  | 0.08 | 0.44 |  | 0.46 | 2.5 |  | 0.25 | 1.3 |  | 0.10 | 0.52 |  | 0.24 | 1.3 |  | 0.46 | 2.5
cis-1,3-Dichloropropene |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.02 | 0.09 |  | 0.06 | 0.29 |  | 0.06 | 0.29 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
trans-1,3-Dichloropropene |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.02 | 0.11 |  | 0.07 | 0.32 |  | 0.08 | 0.35 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
1,1,2-Trichloroethane |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.03 | 0.15 |  | 0.07 | 0.37 |  | 0.06 | 0.34 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11
Toluene |  | 0.25 | 1.2 |  | 0.96 | 3.6 |  | 3.4 | 13 |  | 29 | 110 |  | 0.88 | 3.3 |  | 5.8 | 22 |  | 3.8 | 14 |  | 2.0 | 7.6 |  | 5.4 | 20 |  | 5.8 | 22
1,2-Dibromoethane |  | <0.02 | <0.15 |  | <0.02 | <0.15 |  | 0.02 | 0.18 |  | 0.09 | 0.71 |  | 0.08 | 0.64 |  | <0.02 | <0.15 |  | <0.02 | <0.15 |  | <0.02 | <0.15 |  | <0.02 | <0.15 |  | <0.02 | <0.15
Tetrachloroethene |  | <0.02 | <0.14 |  | 0.03 | 0.22 |  | 0.11 | 0.77 |  | 0.19 | 1.3 |  | 0.07 | 0.50 |  | 0.15 | 1.0 |  | 0.35 | 2.4 |  | 0.37 | 2.5 |  | 0.17 | 1.2 |  | 0.15 | 1.0
Chlorobenzene |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.05 | 0.21 |  | 0.08 | 0.37 |  | 0.08 | 0.35 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
Ethylbenzene |  | 0.28 | 1.2 |  | 0.75 | 3.3 |  | 1.3 | 5.5 |  | 4.6 | 20 |  | 0.12 | 0.53 |  | 0.15 | 0.67 |  | 0.30 | 1.3 |  | 0.14 | 0.59 |  | 0.55 | 2.4 |  | 0.15 | 0.67
m-/p-Xylene |  | 0.98 | 5.1 |  | 2.3 | 10 |  | 2.2 | 9.4 |  | 12 | 44 |  | 0.25 | 1.1 |  | 0.22 | 0.97 |  | 0.34 | 1.5 |  | 0.19 | 0.84 |  | 0.69 | 3.0 |  | 0.22 | 0.97
Styrene |  | 0.51 | 2.2 |  | 1.7 | 7.2 |  | 0.96 | 4.1 |  | 46 | 170 |  | 0.10 | 0.43 |  | 0.06 | 0.27 |  | 0.04 | 0.15 | * | 0.02 | 0.10 |  | 0.21 | 0.89 |  | 0.06 | 0.27
1,1,2,2-Tetrachloroethane |  | <0.02 | <0.14 |  | <0.02 | <0.14 |  | 0.03 | 0.18 |  | 0.14 | 0.94 |  | 0.10 | 0.66 |  | <0.02 | <0.14 |  | <0.02 | <0.14 |  | <0.02 | <0.14 |  | <0.02 | <0.14 |  | <0.02 | <0.14
o-Xylene |  | 0.25 | 1.1 |  | 0.58 | 2.5 |  | 0.66 | 2.9 |  | 2.9 | 13 |  | 0.12 | 0.52 |  | 0.08 | 0.33 |  | 0.10 | 0.43 |  | 0.07 | 0.30 |  | 0.21 | 0.90 |  | 0.08 | 0.33
1,3,5-Trimethylbenzene |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.06 | 0.31 |  | 0.17 | 0.81 |  | 0.09 | 0.44 |  | 0.02 | 0.11 |  | 0.02 | 0.11 |  | <0.02 | <0.10 |  | 0.08 | 0.41 |  | 0.02 | 0.11
1,2,4-Trimethylbenzene |  | 0.03 | 0.16 |  | 0.02 | 0.12 |  | 0.22 | 1.1 |  | 0.53 | 2.6 |  | 0.20 | 0.96 |  | 0.07 | 0.34 |  | 0.08 | 0.39 |  | 0.07 | 0.34 |  | 0.20 | 0.96 |  | 0.07 | 0.34
m-Dichlorobenzene |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | 0.03 | 0.16 |  | 0.12 | 0.70 |  | 0.09 | 0.55 |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | <0.02 | <0.12
Benzyl chloride |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.06 | 0.33 |  | 0.05 | 0.27 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10
o-Dichlorobenzene |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | 0.02 | 0.14 |  | 0.12 | 0.74 |  | 0.09 | 0.55 |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | <0.02 | <0.12
p-Dichlorobenzene |  | 0.04 | 0.22 |  | 0.05 | 0.28 |  | 0.12 | 0.75 |  | 0.21 | 1.3 |  | 0.13 | 0.76 |  | 0.04 | 0.26 |  | 0.14 | 0.85 |  | 0.12 | 0.71 |  | 0.06 | 0.37 |  | 0.04 | 0.26
1,2,4-Trichlorobenzene |  | <0.02 | <0.15 |  | <0.02 | <0.15 |  | <0.02 | <0.15 |  | 0.12 | 0.88 |  | 0.08 | 0.60 |  | <0.02 | <0.15 |  | <0.02 | <0.15 |  | <0.02 | <0.15 |  | <0.02 | <0.15 |  | <0.02 | <0.15
Hexachlorobutadiene |  | <0.02 | <0.21 |  | <0.02 | <0.21 |  | 0.03 | 0.31 |  | 0.11 | 1.2 |  | 0.08 | 0.80 |  | <0.02 | <0.21 |  | <0.02 | <0.21 |  | <0.02 | <0.21 |  | <0.02 | <0.21 |  | <0.02 | <0.21
1,3-Butadiene |  | <0.02 | <0.04 |  | <0.02 | <0.04 |  | 0.13 | 0.28 |  | 0.12 | 0.26 |  | 0.16 | 0.36 |  | 0.15 | 0.34 |  | 0.20 | 0.44 |  | 0.19 | 0.41 |  | 0.09 | 0.20 |  | 0.15 | 0.34
4-Ethyltoluene |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.08 | 0.40 |  | 0.16 | 0.78 |  | 0.10 | 0.48 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.07 | 0.32 |  | <0.02 | <0.10
Hexane |  | 0.05 | 0.19 |  | 0.19 | 0.66 |  | 0.58 | 2.0 |  | 0.47 | 1.6 |  | 0.33 | 1.2 |  | 0.48 | 1.7 |  | 0.88 | 3.1 |  | 0.31 | 1.1 |  | 0.43 | 1.5 |  | 0.48 | 1.7
2,2,4-Trimethylpentane |  | <0.02 | <0.09 |  | 0.09 | 0.41 |  | 0.12 | 0.55 |  | 0.14 | 0.64 |  | 0.13 | 0.58 |  | 0.05 | 0.22 |  | 0.07 | 0.31 |  | 0.06 | 0.29 |  | 0.05 | 0.24 |  | 0.05 | 0.22

## Report 100
TWSVCS210307 (A0074256)
Propylene | 0.13 | 0.23 | * | 0.34 | 0.58
Propane | 0.87 | 1.6 | * | 0.31 | 0.56 | * | 3.2 | 5.8 | * | 1.4 | 2.6 | * | 1.7 | 3.1 | * | 1.5 | 2.7 | * | 2.4 | 4.4 | * | 1.4 | 2.5 | * | 1.7 | 3.1 | * | 1.5 | 2.7
Freon 22 | 0.33 | 1.2 | * | 0.31 | 1.1 | * | 1.6 | 5.5 |  | 550 | 2100 | * | 1.3 | 4.4 | * | 1.3 | 4.7 | * | 3.0 | 10 | * | 2.2 | 7.6 | * | 1.3 | 4.4 | * | 1.3 | 4.7
1-Propyne | <0.02 | <0.03 |  | <0.02 | <0.03 |  | <0.02 | <0.03 |  | <0.02 | <0.03 |  | <0.02 | <0.03 |  | <0.02 | <0.03 |  | <0.02 | <0.03 |  | <0.02 | <0.03 |  | <0.02 | <0.03 |  | <0.02 | <0.03
Iso-Butane | 0.62 | 1.5 | * | 0.52 | 1.2 | * | 3.1 | 7.4 | * | 0.59 | 1.4 | * | 1.5 | 3.6 | * | 1.3 | 3.0 | * | 2.3 | 5.4 | * | 1.4 | 3.3 | * | 1.5 | 3.6 | * | 1.3 | 3.0
1-Butene/Iso-Butylene | 0.03 | 0.06 | * | 0.10 | 0.23 |  | 0.63 | 1.5 |  | 0.72 | 1.7 |  | 0.58 | 1.3 |  | 0.66 | 1.5 |  | 0.88 | 2.0 |  | 0.62 | 1.4 |  | 0.58 | 1.3 |  | 0.66 | 1.5
Butane | 1.2 | 2.7 |  | 1.4 | 3.4 |  | 5.6 | 13 |  | 1.3 | 3.1 |  | 3.2 | 7.6 |  | 2.7 | 6.5 |  | 5.1 | 12 |  | 3.7 | 8.8 |  | 3.2 | 7.6 |  | 2.7 | 6.5
trans-2-Butene | <0.02 | <0.05 |  | <0.02 | <0.05 |  | 0.15 | 0.35 |  | 0.11 | 0.25 |  | 0.11 | 0.26 |  | 0.13 | 0.30 |  | 0.15 | 0.34 |  | 0.12 | 0.27 |  | 0.11 | 0.26 |  | 0.13 | 0.30
2,2-Dimethylpropane | <0.02 | <0.06 |  | <0.02 | <0.06 |  | 0.07 | 0.20 |  | 0.03 | 0.08 |  | <0.02 | <0.06 |  | <0.02 | <0.06 |  | <0.02 | <0.06 |  | <0.02 | <0.06 |  | <0.02 | <0.06 |  | <0.02 | <0.06
1-Butyne | <0.02 | <0.04 |  | <0.02 | <0.04 |  | 0.04 | 0.10 |  | <0.02 | <0.04 |  | <0.02 | <0.04 |  | <0.02 | <0.04 |  | <0.02 | <0.04 |  | <0.02 | <0.04 |  | <0.02 | <0.04 |  | <0.02 | <0.04
cis-2-Butene | <0.02 | <0.05 |  | 0.02 | 0.05 |  | 0.13 | 0.31 |  | 0.13 | 0.30 |  | 0.11 | 0.25 |  | 0.12 | 0.27 |  | 0.13 | 0.30 |  | 0.11 | 0.25 |  | 0.11 | 0.25 |  | 0.12 | 0.27
2-Methylbutane | 0.39 | 1.1 |  | 0.44 | 1.3 |  | 2.1 | 6.1 |  | 0.87 | 2.6 |  | 1.6 | 4.8 |  | 1.2 | 3.6 |  | 2.3 | 6.8 |  | 1.1 | 3.2 |  | 1.6 | 4.8 |  | 1.2 | 3.6
1-Pentene | <0.02 | <0.06 |  | <0.02 | <0.06 |  | 0.19 | 0.54 |  | 0.40 | 1.1 |  | 0.13 | 0.39 |  | 0.14 | 0.41 |  | 0.20 | 0.56 |  | 0.14 | 0.41 |  | 0.13 | 0.39 |  | 0.14 | 0.41
2-Methyl-1-Butene | <0.02 | <0.06 |  | 0.05 | 0.13 |  | 0.21 | 0.61 |  | 0.30 | 0.86 |  | 0.18 | 0.50 |  | 0.18 | 0.51 |  | 0.20 | 0.58 |  | 0.21 | 0.60 |  | 0.18 | 0.50 |  | 0.18 | 0.51
Pentane | 0.21 | 0.61 |  | 0.20 | 0.58 |  | 1.1 | 3.2 |  | 0.37 | 1.1 |  | 0.60 | 1.8 |  | 0.48 | 1.4 |  | 0.89 | 2.6 |  | 0.40 | 1.2 |  | 0.60 | 1.8 |  | 0.48 | 1.4
Isoprene | 0.14 | 0.38 |  | 0.13 | 0.37 |  | 0.33 | 0.91 |  | 0.29 | 0.81 |  | 0.32 | 0.89 |  | 0.20 | 0.57 |  | 0.38 | 1.1 |  | 0.17 | 0.46 |  | 0.32 | 0.89 |  | 0.20 | 0.57
Bromoethane | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.03 | 0.15 |  | 0.04 | 0.19 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
trans-2-Pentene | 0.04 | 0.11 |  | 0.04 | 0.12 |  | 0.07 | 0.20 |  | 0.08 | 0.22 |  | 0.12 | 0.33 |  | 0.11 | 0.33 |  | 0.12 | 0.35 |  | 0.10 | 0.29 |  | 0.12 | 0.33 |  | 0.11 | 0.33
cis-2-Pentene | <0.02 | <0.06 |  | 0.02 | 0.06 |  | 0.12 | 0.34 |  | 0.08 | 0.22 |  | 0.07 | 0.19 |  | 0.07 | 0.19 |  | 0.07 | 0.21 |  | 0.07 | 0.19 |  | 0.07 | 0.19 |  | 0.07 | 0.19
2-Methyl-2-Butene | 0.04 | 0.12 |  | 0.06 | 0.16 |  | 0.10 | 0.30 |  | 0.13 | 0.37 |  | 0.17 | 0.48 |  | 0.17 | 0.49 |  | 0.17 | 0.49 |  | 0.16 | 0.46 |  | 0.17 | 0.48 |  | 0.17 | 0.49
3-Chloropropene | <0.02 | <0.06 |  | 0.04 | 0.12 |  | <0.02 | <0.06 |  | 0.05 | 0.14 |  | <0.02 | <0.06 |  | <0.02 | <0.06 |  | <0.02 | <0.06 |  | <0.02 | <0.06 |  | <0.02 | <0.06 |  | <0.02 | <0.06
2,2-Dimethylbutane | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.13 | 0.46 |  | 0.11 | 0.37 |  | 0.05 | 0.18 |  | 0.05 | 0.16 |  | 0.08 | 0.27 |  | 0.04 | 0.14 |  | 0.05 | 0.18 |  | 0.05 | 0.16
Cyclopentene | <0.02 | <0.06 |  | <0.02 | <0.06 |  | 0.09 | 0.24 |  | 0.07 | 0.20 |  | 0.06 | 0.18 |  | 0.07 | 0.21 |  | 0.07 | 0.19 |  | 0.06 | 0.16 |  | 0.06 | 0.18 |  | 0.07 | 0.21
trans-1,2-Dichloroethene | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.03 | 0.12 |  | 0.04 | 0.14 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
4-Methyl-1-Pentene | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.05 | 0.17 |  | 0.06 | 0.20 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.02 | 0.08 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07
3-Methyl-1-Pentene | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.06 | 0.20 |  | 0.07 | 0.23 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07
Cyclopentane | 0.07 | 0.20 |  | 0.06 | 0.16 |  | 0.24 | 0.69 |  | 0.33 | 0.95 |  | 0.16 | 0.47 |  | 0.16 | 0.47 |  | 0.20 | 0.56 |  | 0.11 | 0.30 |  | 0.16 | 0.47 |  | 0.16 | 0.47
2,3-Dimethylbutane | <0.02 | <0.07 |  | 0.03 | 0.12 |  | 0.17 | 0.61 |  | 0.11 | 0.40 |  | 0.12 | 0.44 |  | 0.10 | 0.35 |  | 0.20 | 0.72 |  | 0.11 | 0.40 |  | 0.12 | 0.44 |  | 0.10 | 0.35
trans-4-Methyl-2-Pentene | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.05 | 0.18 |  | 0.04 | 0.15 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07
2-Methylpentane | <0.02 | <0.07 |  | 0.12 | 0.41 |  | 0.75 | 2.6 |  | 0.50 | 1.7 |  | 0.76 | 2.7 |  | 0.79 | 2.8 |  | 1.3 | 4.5 |  | 0.57 | 2.0 |  | 0.76 | 2.7 |  | 0.79 | 2.8
cis-4-Methyl-2-Pentene | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.07 | 0.24 |  | 0.05 | 0.18 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07
3-Methylpentane | 0.03 | 0.11 |  | 0.09 | 0.32 |  | 0.39 | 1.4 |  | 0.25 | 0.88 |  | 0.39 | 1.4 |  | 0.33 | 1.2 |  | 0.63 | 2.2 |  | 0.34 | 1.2 |  | 0.39 | 1.4 |  | 0.33 | 1.2
trans-2-Hexene | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.04 | 0.13 |  | 0.07 | 0.25 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07
2-Ethyl-1-Butene | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.04 | 0.14 |  | 0.05 | 0.17 |  | 0.02 | 0.08 |  | <0.02 | <0.07 |  | 0.02 | 0.08 |  | <0.02 | <0.07 |  | 0.02 | 0.08 |  | <0.02 | <0.07
trans-3-Methyl-2-Pentene | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.04 | 0.13 |  | 0.11 | 0.37 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07
cis-2-Hexene | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.03 | 0.12 |  | 0.09 | 0.30 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07
cis-3-Methyl-2-Pentene | <0.02 | <0.07 |  | 0.03 | 0.09 |  | 0.02 | 0.08 |  | 0.04 | 0.12 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07
Methylcyclopentane | <0.02 | <0.07 |  | 0.09 | 0.32 |  | 0.27 | 0.92 |  | 0.35 | 1.2 |  | 0.11 | 0.39 |  | 0.13 | 0.43 |  | 0.18 | 0.62 |  | 0.09 | 0.32 |  | 0.11 | 0.39 |  | 0.13 | 0.43
2,4-Dimethylpentane | <0.02 | <0.08 |  | 0.02 | 0.09 |  | 0.09 | 0.36 |  | 0.13 | 0.55 |  | 0.03 | 0.13 |  | 0.03 | 0.12 |  | 0.04 | 0.18 |  | <0.02 | <0.08 |  | 0.03 | 0.13 |  | 0.03 | 0.12
2,2,3-Trimethylbutane | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.03 | 0.12 |  | 0.06 | 0.24 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
1-Methylcyclopentene | <0.02 | <0.07 |  | <0.02 | <0.07 |  | 0.03 | 0.11 |  | 0.05 | 0.17 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07 |  | <0.02 | <0.07
Cyclohexane | <0.02 | <0.07 |  | 0.15 | 0.52 |  | 0.47 | 1.6 |  | 1.4 | 4.6 | * | 0.13 | 0.44 |  | 0.20 | 0.68 | * | 0.20 | 0.68 | * | 0.11 | 0.38 | * | 0.13 | 0.44 |  | 0.20 | 0.68
2-Methylhexane | <0.02 | <0.08 |  | 0.08 | 0.32 |  | 0.28 | 1.2 |  | 0.95 | 3.9 |  | 0.28 | 1.1 |  | 0.24 | 0.99 |  | 0.30 | 1.2 |  | 0.20 | 0.81 |  | 0.28 | 1.1 |  | 0.24 | 0.99
2,3-Dimethylpentane | <0.02 | <0.08 |  | 0.03 | 0.12 |  | 0.08 | 0.32 |  | 0.24 | 0.99 |  | 0.06 | 0.23 |  | 0.05 | 0.19 |  | 0.07 | 0.28 |  | 0.05 | 0.18 |  | 0.06 | 0.23 |  | 0.05 | 0.19
Cyclohexene | <0.02 | <0.07 |  | <0.02 | <0.07 | * | 0.05 | 0.17 | * | 0.10 | 0.33 | * | 0.04 | 0.14 | * | 0.03 | 0.11 | * | 0.05 | 0.16 | * | 0.03 | 0.11 | * | 0.04 | 0.14 | * | 0.03 | 0.11
3-Methylhexane | <0.02 | <0.08 |  | 0.13 | 0.52 |  | 0.28 | 1.2 |  | 1.2 | 4.9 |  | 0.26 | 1.1 |  | 0.20 | 0.83 |  | 0.28 | 1.2 |  | 0.18 | 0.75 |  | 0.26 | 1.1 |  | 0.20 | 0.83
Dibromomethane | <0.02 | <0.14 |  | <0.02 | <0.14 |  | 0.04 | 0.31 |  | 0.09 | 0.62 |  | <0.02 | <0.14 |  | <0.02 | <0.14 |  | <0.02 | <0.14 |  | 0.02 | 0.15 |  | <0.02 | <0.14 |  | <0.02 | <0.14
Bromodichloromethane | <0.02 | <0.13 |  | <0.02 | <0.13 |  | 0.06 | 0.41 |  | 0.35 | 2.3 |  | <0.02 | <0.13 |  | <0.02 | <0.13 |  | <0.02 | <0.13 |  | <0.02 | <0.13 |  | <0.02 | <0.13 |  | <0.02 | <0.13
1-Heptene | <0.02 | <0.08 |  | 0.09 | 0.38 |  | 0.06 | 0.24 |  | 0.15 | 0.59 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
trans-3-Heptene | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.07 | 0.29 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
Heptane | 0.04 | 0.18 |  | 0.12 | 0.49 |  | 0.28 | 1.1 |  | 2.1 | 8.5 |  | 0.20 | 0.83 |  | 0.20 | 0.81 |  | 0.23 | 0.92 |  | 0.15 | 0.60 |  | 0.20 | 0.83 |  | 0.20 | 0.81
cis-3-Heptene | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.02 | 0.09 |  | 0.09 | 0.35 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
trans-2-Heptene | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.02 | 0.10 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
cis-2-Heptene | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.03 | 0.13 |  | 0.08 | 0.33 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
2,2-Dimethylhexane | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.12 | 0.56 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
Methylcyclohexane | 0.05 | 0.19 |  | 0.11 | 0.43 |  | 0.22 | 0.89 |  | 3.4 | 14 |  | 0.10 | 0.41 |  | 0.11 | 0.44 |  | 0.13 | 0.50 | * | 0.10 | 0.38 |  | 0.10 | 0.41 |  | 0.11 | 0.44
2,5-Dimethylhexane | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.03 | 0.14 |  | 0.29 | 1.3 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
2,4-Dimethylhexane | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.04 | 0.19 |  | 0.38 | 1.8 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.02 | 0.11 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
Bromotrichloromethane | <0.02 | <0.16 |  | 0.15 | 1.2 |  | <0.02 | <0.16 |  | 0.03 | 0.27 |  | <0.02 | <0.16 |  | <0.02 | <0.16 |  | <0.02 | <0.16 |  | <0.02 | <0.16 |  | <0.02 | <0.16 |  | <0.02 | <0.16
2,3,4-Trimethylpentane | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.04 | 0.17 |  | 0.13 | 0.61 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
2-Methylheptane | <0.02 | <0.09 |  | 0.02 | 0.11 |  | 0.07 | 0.33 |  | 0.95 | 4.4 |  | 0.07 | 0.32 | * | 0.04 | 0.17 | * | 0.04 | 0.21 | * | 0.03 | 0.14 |  | 0.07 | 0.32 | * | 0.04 | 0.17
1-Methylcyclohexene | <0.02 | <0.08 |  | <0.02 | <0.08 |  | 0.04 | 0.17 |  | 0.12 | 0.46 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08 |  | <0.02 | <0.08
4-Methylheptane | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.03 | 0.15 |  | 0.38 | 1.8 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
3-Methylheptane | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.05 | 0.24 |  | 1.8 | 8.6 |  | 0.05 | 0.25 |  | 0.03 | 0.14 |  | 0.04 | 0.17 |  | 0.02 | 0.10 |  | 0.05 | 0.25 |  | 0.03 | 0.14
Dibromochloromethane | <0.02 | <0.17 |  | <0.02 | <0.17 |  | 0.04 | 0.31 |  | 0.08 | 0.70 |  | <0.02 | <0.17 |  | <0.02 | <0.17 |  | <0.02 | <0.17 |  | <0.02 | <0.17 |  | <0.02 | <0.17 |  | <0.02 | <0.17
2,2,5-Trimethylhexane | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.04 | 0.22 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10
1-Octene | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.10 | 0.47 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
Octane | 0.03 | 0.13 |  | 0.04 | 0.20 |  | 0.08 | 0.39 |  | 6.1 | 28 |  | 0.13 | 0.61 |  | 0.04 | 0.19 |  | 0.05 | 0.21 |  | 0.03 | 0.16 |  | 0.13 | 0.61 |  | 0.04 | 0.19
trans-1,2-Dimethylcyclohexane | <0.02 | <0.09 |  | <0.02 | <0.09 |  | 0.03 | 0.13 |  | 0.22 | 1.0 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
cis-1,2-Dimethylcyclohexane | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09 |  | <0.02 | <0.09
1,2,4-Trimethylcyclohexane | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.05 | 0.28 |  | 0.97 | 5.0 |  | 0.10 | 0.51 |  | 0.02 | 0.12 |  | 0.03 | 0.13 |  | <0.02 | <0.10 |  | 0.10 | 0.51 |  | 0.02 | 0.12
Bromoform | <0.02 | <0.20 |  | <0.02 | <0.20 |  | 0.04 | 0.39 |  | 0.07 | 0.75 |  | <0.02 | <0.20 |  | <0.02 | <0.20 |  | <0.02 | <0.20 |  | <0.02 | <0.20 |  | <0.02 | <0.20 |  | <0.02 | <0.20
1,4-Dichlorobutane | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.04 | 0.20 |  | 0.12 | 0.60 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10
1-Nonene | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.04 | 0.18 |  | 0.09 | 0.44 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10
Nonane | 0.02 | 0.12 |  | 0.03 | 0.18 |  | 0.11 | 0.59 |  | 1.3 | 6.9 |  | 0.81 | 4.3 |  | 0.07 | 0.35 |  | 0.06 | 0.30 |  | 0.05 | 0.27 |  | 0.81 | 4.3 |  | 0.07 | 0.35
Iso-Propylbenzene | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.03 | 0.17 |  | 0.13 | 0.64 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10
3,6-Dimethyloctane | <0.02 | <0.12 |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | 0.06 | 0.35 |  | 0.04 | 0.26 |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | <0.02 | <0.12 |  | 0.04 | 0.26 |  | <0.02 | <0.12
m-/p-Chlorotoluene | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.04 | 0.21 |  | 0.15 | 0.76 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10
n-Propylbenzene | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.05 | 0.26 |  | 0.15 | 0.73 |  | 0.04 | 0.17 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.04 | 0.17 |  | <0.02 | <0.10
o-Chlorotoluene | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.09 | 0.44 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10
3-Ethyltoluene | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.13 | 0.62 |  | 0.23 | 1.1 |  | 0.10 | 0.48 |  | 0.04 | 0.18 |  | 0.04 | 0.17 |  | 0.03 | 0.15 |  | 0.10 | 0.48 |  | 0.04 | 0.18
2-Ethyltoluene | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.06 | 0.31 |  | 0.18 | 0.87 |  | 0.08 | 0.39 |  | 0.02 | 0.11 |  | 0.02 | 0.10 |  | <0.02 | <0.10 |  | 0.08 | 0.39 |  | 0.02 | 0.11
Tert-Butylbenzene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.03 | 0.18 |  | 0.12 | 0.64 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11
1-Decene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11
Decane | <0.02 | <0.12 |  | <0.02 | <0.12 |  | 0.13 | 0.77 |  | 0.93 | 5.4 |  | 0.90 | 5.3 |  | 0.08 | 0.49 |  | 0.10 | 0.55 |  | 0.09 | 0.53 |  | 0.90 | 5.3 |  | 0.08 | 0.49
Iso-Butylbenzene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.02 | 0.12 |  | 0.10 | 0.56 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11
Sec-Butylbenzene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.02 | 0.11 |  | 0.10 | 0.57 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11
1,2,3-Trimethylbenzene | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.07 | 0.37 |  | 0.27 | 1.3 |  | 0.13 | 0.62 |  | 0.05 | 0.26 |  | 0.07 | 0.35 |  | 0.07 | 0.36 |  | 0.13 | 0.62 |  | 0.05 | 0.26
p-Cymene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.06 | 0.33 |  | 0.64 | 3.5 |  | 0.04 | 0.21 |  | <0.02 | <0.11 |  | 0.02 | 0.13 |  | 0.05 | 0.30 |  | 0.04 | 0.21 |  | <0.02 | <0.11
Indan | <0.02 | <0.10 |  | <0.02 | <0.10 |  | 0.04 | 0.19 |  | 0.18 | 0.87 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10 |  | <0.02 | <0.10
1,3-Diethylbenzene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.17 | 0.93 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11
1,4-Diethylbenzene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.04 | 0.24 |  | 0.31 | 1.7 |  | 0.05 | 0.25 |  | <0.02 | <0.11 |  | 0.03 | 0.15 |  | 0.02 | 0.12 |  | 0.05 | 0.25 |  | <0.02 | <0.11
n-Butylbenzene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.02 | 0.12 |  | 0.17 | 0.92 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11
1,2-Diethylbenzene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.14 | 0.78 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11
Undecane | 0.04 | 0.27 |  | <0.02 | <0.13 |  | 0.08 | 0.52 |  | 1.5 | 9.6 |  | 0.45 | 2.9 |  | 0.06 | 0.39 |  | 0.13 | 0.84 |  | 0.13 | 0.81 |  | 0.45 | 2.9 |  | 0.06 | 0.39
1,2,3,5-Tetramethylbenzene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.02 | 0.13 |  | 0.26 | 1.4 |  | 0.02 | 0.12 |  | <0.02 | <0.11 |  | 0.02 | 0.12 |  | 0.02 | 0.11 |  | 0.02 | 0.12 |  | <0.02 | <0.11
1,2,4,5-Tetramethylbenzene | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | 0.20 | 1.1 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11 |  | <0.02 | <0.11
Naphthalene | 0.27 | 1.4 |  | 0.06 | 0.31 |  | 0.22 | 1.2 |  | 2.3 | 12 |  | 0.36 | 1.9 |  | 0.25 | 1.3 |  | 0.85 | 4.5 |  | 0.64 | 3.3 |  | 0.36 | 1.9 |  | 0.25 | 1.3
Dodecane | 0.16 | 1.1 |  | <0.02 | <0.14 |  | 0.05 | 0.34 |  | 1.7 | 12 |  | 0.19 | 1.4 |  | 0.06 | 0.45 |  | 0.11 | 0.75 |  | 0.10 | 0.67 |  | 0.19 | 1.4 |  | 0.06 | 0.45
Hexylbenzene | <0.02 | <0.13 |  | <0.02 | <0.13 |  | <0.02 | <0.13 |  | 0.13 | 0.87 |  | <0.02 | <0.13 |  | <0.02 | <0.13 |  | <0.02 | <0.13 |  | <0.02 | <0.13 |  | <0.02 | <0.13 |  | <0.02 | <0.13

## Sheet1
政 府 化 驗 所 |  |  |  |  | GOVERNMENT LABORATORY
Toxic Air Pollutants - Volatile Organic Compounds (VOCs) | [12 empty] | 10878 | TRUE
Lab. No. : 21A580 | [12 empty] | 1
Sample I.D.* (Canister No.): | [12 empty] | 63
TWSVCS210307 (A0074256) | [12 empty] | 100
113
| A0074256 | [10 empty] | 0 | 10601 | 10878
| ppbv | mg/m3 | [11 empty] | 1 | Chlorobromomethane (Istd 1) | 20
Freon 12 | 0.45 | 2.2 | 0 | 0 |  |  | 0 | 0.45 | 2.2 | true | true | 0 | 5 | 2 | Propylene | 0.13 | 0.23
Chloromethane | 0.62 | 1.3 | 0 | 0 |  |  | 0 | 0.62 | 1.3 | true | true | 0 | 7 | 3 | Propane | 0.87 | 1.6
Freon 114 | <0.02 | <0.14 | 0 | 0 |  |  | 0 | <0.02 | <0.14 | true | true | 0 | 9 | 4 | Freon 22 | 0.33 | 1.2
Chloroethene | <0.02 | <0.05 | 0 | 0 |  |  | 0 | <0.02 | <0.05 | true | true | 0 | 10 | 5 | Freon 12 | 0.45 | 2.2
Bromomethane | <0.02 | <0.08 | 0 | 0 |  |  | 0 | <0.02 | <0.08 | true | true | 0 | 16 | 6 | 1-Propyne | <0.02 | <0.03
Chloroethane | <0.02 | <0.05 | 0 | 0 |  |  | 0 | <0.02 | <0.05 | true | true | 0 | 19 | 7 | Chloromethane | 0.62 | 1.3
Freon 11 | 0.21 | 1.2 | 0 | 0 |  |  | 0 | 0.21 | 1.2 | true | true | 0 | 21 | 8 | Iso-Butane | 0.62 | 1.5
1,1-Dichloroethene | <0.02 | <0.08 | 0 | 0 |  |  | 0 | <0.02 | <0.08 | true | true | 0 | 28 | 9 | Freon 114 | <0.02 | <0.14
Methylene chloride | 0.11 | 0.37 | 0 | 0 |  |  | 0 | 0.11 | 0.37 | true | true | 0 | 30 | 10 | Chloroethene | <0.02 | <0.05
Freon 113 | 0.07 | 0.57 | 0 | 0 |  |  | 0 | 0.07 | 0.57 | true | true | 0 | 33 | 11 | 1-Butene/Iso-Butylene | 0.03 | 0.06
1,1-Dichloroethane | <0.02 | <0.08 | 0 | 0 |  |  | 0 | <0.02 | <0.08 | true | true | 0 | 39 | 12 | 1,3-Butadiene | <0.02 | <0.04
cis-1,2-Dichloroethene | <0.02 | <0.08 | 0 | 0 |  |  | 0 | <0.02 | <0.08 | true | true | 0 | 46 | 13 | Butane | 1.2 | 2.7
Chloroform | 0.03 | 0.14 | 0 | 0 |  |  | 0 | 0.03 | 0.14 | true | true | 0 | 48 | 14 | trans-2-Butene | <0.02 | <0.05
1,2-Dichloroethane | <0.02 | <0.08 | 0 | 0 |  |  | 0 | <0.02 | <0.08 | true | true | 0 | 54 | 15 | 2,2-Dimethylpropane | <0.02 | <0.06
1,1,1-Trichloroethane | <0.02 | <0.11 | 0 | 0 |  |  | 0 | <0.02 | <0.11 | true | true | 0 | 57 | 16 | Bromomethane | <0.02 | <0.08
Benzene | <0.02 | <0.06 | 0 | 0 |  |  | 0 | <0.02 | <0.06 | true | true | 0 | 60 | 17 | 1-Butyne | <0.02 | <0.04
Carbon tetrachloride | 0.07 | 0.47 | 0 | 0 |  |  | 0 | 0.07 | 0.47 | true | true | 0 | 61 | 18 | cis-2-Butene | <0.02 | <0.05
1,2-Dichloropropane | <0.02 | <0.09 | 0 | 0 |  |  | 0 | <0.02 | <0.09 | true | true | 0 | 69 | 19 | Chloroethane | <0.02 | <0.05
Trichloroethene | <0.02 | <0.11 | 0 | 0 |  |  | 0 | <0.02 | <0.11 | true | true | 0 | 71 | 20 | 2-Methylbutane | 0.39 | 1.1
cis-1,3-Dichloropropene | <0.02 | <0.09 | 0 | 0 |  |  | 0 | <0.02 | <0.09 | true | true | 0 | 79 | 21 | Freon 11 | 0.21 | 1.2
trans-1,3-Dichloropropene | <0.02 | <0.09 | 0 | 0 |  |  | 0 | <0.02 | <0.09 | true | true | 0 | 84 | 22 | 1-Pentene | <0.02 | <0.06
1,1,2-Trichloroethane | <0.02 | <0.11 | 0 | 0 |  |  | 0 | <0.02 | <0.11 | true | true | 0 | 85 | 23 | 2-Methyl-1-Butene | <0.02 | <0.06
Toluene | 0.25 | 1.2 | 0 | 0 |  |  | 0 | 0.25 | 1.2 | true | true | 0 | 88 | 24 | Pentane | 0.21 | 0.61
1,2-Dibromoethane | <0.02 | <0.15 | 0 | 0 |  |  | 0 | <0.02 | <0.15 | true | true | 0 | 94 | 25 | Isoprene | 0.14 | 0.38
Tetrachloroethene | <0.02 | <0.14 | 0 | 0 |  |  | 0 | <0.02 | <0.14 | true | true | 0 | 99 | 26 | Bromoethane | <0.02 | <0.09
Chlorobenzene | <0.02 | <0.09 | 0 | 0 |  |  | 0 | <0.02 | <0.09 | true | true | 0 | 102 | 27 | trans-2-Pentene | 0.04 | 0.11
Ethylbenzene | 0.28 | 1.2 | 0 | 0 |  |  | 0 | 0.28 | 1.2 | true | true | 0 | 103 | 28 | 1,1-Dichloroethene | <0.02 | <0.08
m-/p-Xylene | 0.98 | 5.1 | 0 | 0 |  |  | 0 | 0.98 | 5.1 | true | true | 0 | 105 | 29 | cis-2-Pentene | <0.02 | <0.06
Styrene | 0.51 | 2.2 | 0 | 0 |  |  | 0 | 0.51 | 2.2 | true | true | 0 | 108 | 30 | Methylene chloride | 0.11 | 0.37
1,1,2,2-Tetrachloroethane | <0.02 | <0.14 | 0 | 0 |  |  | 0 | <0.02 | <0.14 | true | true | 0 | 109 | 31 | 2-Methyl-2-Butene | 0.04 | 0.12
o-Xylene | 0.25 | 1.1 | 0 | 0 |  |  | 0 | 0.25 | 1.1 | true | true | 0 | 110 | 32 | 3-Chloropropene | <0.02 | <0.06
1,3,5-Trimethylbenzene | <0.02 | <0.10 | 0 | 0 |  |  | 0 | <0.02 | <0.10 | true | true | 0 | 121 | 33 | Freon 113 | 0.07 | 0.57
1,2,4-Trimethylbenzene | 0.03 | 0.16 | 0 | 0 |  |  | 0 | 0.03 | 0.16 | true | true | 0 | 124 | 34 | 2,2-Dimethylbutane | <0.02 | <0.07
m-Dichlorobenzene | <0.02 | <0.12 | 0 | 0 |  |  | 0 | <0.02 | <0.12 | true | true | 0 | 128 | 35 | Cyclopentene | <0.02 | <0.06
Benzyl chloride | <0.02 | <0.10 | 0 | 0 |  |  | 0 | <0.02 | <0.10 | true | true | 0 | 126 | 36 | trans-1,2-Dichloroethene | <0.02 | <0.08
o-Dichlorobenzene | <0.02 | <0.12 | 0 | 0 |  |  | 0 | <0.02 | <0.12 | true | true | 0 | 134 | 37 | 4-Methyl-1-Pentene | <0.02 | <0.07
p-Dichlorobenzene | 0.04 | 0.22 | 0 | 0 |  |  | 0 | 0.04 | 0.22 | true | true | 0 | 129 | 38 | 3-Methyl-1-Pentene | <0.02 | <0.07
1,2,4-Trichlorobenzene | <0.02 | <0.15 | 0 | 0 |  |  | 0 | <0.02 | <0.15 | true | true | 0 | 143 | 39 | 1,1-Dichloroethane | <0.02 | <0.08
Hexachlorobutadiene | <0.02 | <0.21 | 0 | 0 |  |  | 0 | <0.02 | <0.21 | true | true | 0 | 146 | 40 | Cyclopentane | 0.07 | 0.20
1,3-Butadiene | <0.02 | <0.04 | 0 | 0 |  |  | 0 | <0.02 | <0.04 | true | true | 0 | 12 | 41 | 2,3-Dimethylbutane | <0.02 | <0.07
4-Ethyltoluene | <0.02 | <0.10 | 0 | 0 |  |  | 0 | <0.02 | <0.10 | true | true | 0 | 120 | 42 | trans-4-Methyl-2-Pentene | <0.02 | <0.07
Hexane | 0.05 | 0.19 | 0 | 0 |  |  | 0 | 0.05 | 0.19 | true | true | 0 | 47 | 43 | 2-Methylpentane | <0.02 | <0.07
2,2,4-Trimethylpentane | <0.02 | <0.09 | 0 | 0 |  |  | 0 | <0.02 | <0.09 | true | true | 0 | 73 | 44 | cis-4-Methyl-2-Pentene | <0.02 | <0.07
[14 empty] | 45 | 3-Methylpentane | 0.03 | 0.11
[14 empty] | 46 | cis-1,2-Dichloroethene | <0.02 | <0.08
[6 empty] | 0 | [7 empty] | 47 | Hexane | 0.05 | 0.19
[6 empty] | Chemist | [7 empty] | 48 | Chloroform | 0.03 | 0.14
Page 3 of 6 | [13 empty] | 49 | trans-2-Hexene | <0.02 | <0.07
政 府 化 驗 所 |  |  |  |  | GOVERNMENT LABORATORY | [8 empty] | 50 | 2-Ethyl-1-Butene | <0.02 | <0.07
Toxic Air Pollutants - Volatile Organic Compounds (VOCs) | [13 empty] | 51 | trans-3-Methyl-2-Pentene | <0.02 | <0.07
Lab. No. : 21A580 | [13 empty] | 52 | cis-2-Hexene | <0.02 | <0.07
Sample I.D.* (Canister No.): | [13 empty] | 53 | cis-3-Methyl-2-Pentene | <0.02 | <0.07
TWSVCS210307 (A0074256) | [13 empty] | 54 | 1,2-Dichloroethane | <0.02 | <0.08
[14 empty] | 55 | Methylcyclopentane | <0.02 | <0.07
| A0074256 | [12 empty] | 56 | 2,4-Dimethylpentane | <0.02 | <0.08
| ppbv | mg/m3 | [11 empty] | 57 | 1,1,1-Trichloroethane | <0.02 | <0.11
Propylene | 0.13 | 0.23 | 0 | 0 |  |  |  | 0.13 | 0.23 | true | true | 0 | 2 | 58 | 2,2,3-Trimethylbutane | <0.02 | <0.08
Propane | 0.87 | 1.6 | 0 | 0 |  |  |  | 0.87 | 1.6 | true | true | 0 | 3 | 59 | 1-Methylcyclopentene | <0.02 | <0.07
Freon 22 | 0.33 | 1.2 | 0 | 0 |  |  |  | 0.33 | 1.2 | true | true | 0 | 4 | 60 | Benzene | <0.02 | <0.06
1-Propyne | <0.02 | <0.03 | 0 | 0 |  |  |  | <0.02 | <0.03 | true | true | 0 | 6 | 61 | Carbon tetrachloride | 0.07 | 0.47
Iso-Butane | 0.62 | 1.5 | 0 | 0 |  |  |  | 0.62 | 1.5 | true | true | 0 | 8 | 62 | Cyclohexane | <0.02 | <0.07
1-Butene/Iso-Butylene | 0.03 | 0.06 | 0 | 0 |  |  |  | 0.03 | 0.06 | true | true | 0 | 11 | 63 | 1,4-Difluorobenzene (Istd 2) | 20
Butane | 1.2 | 2.7 | 0 | 0 |  |  |  | 1.2 | 2.7 | true | true | 0 | 13 | 64 | 2-Methylhexane | <0.02 | <0.08
trans-2-Butene | <0.02 | <0.05 | 0 | 0 |  |  |  | <0.02 | <0.05 | true | true | 0 | 14 | 65 | 2,3-Dimethylpentane | <0.02 | <0.08
2,2-Dimethylpropane | <0.02 | <0.06 | 0 | 0 |  |  |  | <0.02 | <0.06 | true | true | 0 | 15 | 66 | Cyclohexene | <0.02 | <0.07
1-Butyne | <0.02 | <0.04 | 0 | 0 |  |  |  | <0.02 | <0.04 | true | true | 0 | 17 | 67 | 3-Methylhexane | <0.02 | <0.08
cis-2-Butene | <0.02 | <0.05 | 0 | 0 |  |  |  | <0.02 | <0.05 | true | true | 0 | 18 | 68 | Dibromomethane | <0.02 | <0.14
2-Methylbutane | 0.39 | 1.1 | 0 | 0 |  |  |  | 0.39 | 1.1 | true | true | 0 | 20 | 69 | 1,2-Dichloropropane | <0.02 | <0.09
1-Pentene | <0.02 | <0.06 | 0 | 0 |  |  |  | <0.02 | <0.06 | true | true | 0 | 22 | 70 | Bromodichloromethane | <0.02 | <0.13
2-Methyl-1-Butene | <0.02 | <0.06 | 0 | 0 |  |  |  | <0.02 | <0.06 | true | true | 0 | 23 | 71 | Trichloroethene | <0.02 | <0.11
Pentane | 0.21 | 0.61 | 0 | 0 |  |  |  | 0.21 | 0.61 | true | true | 0 | 24 | 72 | 1-Heptene | <0.02 | <0.08
Isoprene | 0.14 | 0.38 | 0 | 0 |  |  |  | 0.14 | 0.38 | true | true | 0 | 25 | 73 | 2,2,4-Trimethylpentane | <0.02 | <0.09
Bromoethane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 26 | 74 | trans-3-Heptene | <0.02 | <0.08
trans-2-Pentene | 0.04 | 0.11 | 0 | 0 |  |  |  | 0.04 | 0.11 | true | true | 0 | 27 | 75 | Heptane | 0.04 | 0.18
cis-2-Pentene | <0.02 | <0.06 | 0 | 0 |  |  |  | <0.02 | <0.06 | true | true | 0 | 29 | 76 | cis-3-Heptene | <0.02 | <0.08
2-Methyl-2-Butene | 0.04 | 0.12 | 0 | 0 |  |  |  | 0.04 | 0.12 | true | true | 0 | 31 | 77 | trans-2-Heptene | <0.02 | <0.08
3-Chloropropene | <0.02 | <0.06 | 0 | 0 |  |  |  | <0.02 | <0.06 | true | true | 0 | 32 | 78 | cis-2-Heptene | <0.02 | <0.08
2,2-Dimethylbutane | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 34 | 79 | cis-1,3-Dichloropropene | <0.02 | <0.09
Cyclopentene | <0.02 | <0.06 | 0 | 0 |  |  |  | <0.02 | <0.06 | true | true | 0 | 35 | 80 | 2,2-Dimethylhexane | <0.02 | <0.09
trans-1,2-Dichloroethene | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 36 | 81 | Methylcyclohexane | 0.05 | 0.19
4-Methyl-1-Pentene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 37 | 82 | 2,5-Dimethylhexane | <0.02 | <0.09
3-Methyl-1-Pentene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 38 | 83 | 2,4-Dimethylhexane | <0.02 | <0.09
Cyclopentane | 0.07 | 0.20 | 0 | 0 |  |  |  | 0.07 | 0.20 | true | true | 0 | 40 | 84 | trans-1,3-Dichloropropene | <0.02 | <0.09
2,3-Dimethylbutane | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 41 | 85 | 1,1,2-Trichloroethane | <0.02 | <0.11
trans-4-Methyl-2-Pentene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 42 | 86 | Bromotrichloromethane | <0.02 | <0.16
2-Methylpentane | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 43 | 87 | 2,3,4-Trimethylpentane | <0.02 | <0.09
cis-4-Methyl-2-Pentene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 44 | 88 | Toluene | 0.25 | 1.2
3-Methylpentane | 0.03 | 0.11 | 0 | 0 |  |  |  | 0.03 | 0.11 | true | true | 0 | 45 | 89 | 2-Methylheptane | <0.02 | <0.09
trans-2-Hexene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 49 | 90 | 1-Methylcyclohexene | <0.02 | <0.08
2-Ethyl-1-Butene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 50 | 91 | 4-Methylheptane | <0.02 | <0.09
trans-3-Methyl-2-Pentene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 51 | 92 | 3-Methylheptane | <0.02 | <0.09
cis-2-Hexene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 52 | 93 | Dibromochloromethane | <0.02 | <0.17
[14 empty] | 94 | 1,2-Dibromoethane | <0.02 | <0.15
[14 empty] | 95 | 2,2,5-Trimethylhexane | <0.02 | <0.10
[14 empty] | 96 | 1-Octene | <0.02 | <0.09
[14 empty] | 97 | Octane | 0.03 | 0.13
[14 empty] | 98 | trans-1,2-Dimethylcyclohexane | <0.02 | <0.09
[14 empty] | 99 | Tetrachloroethene | <0.02 | <0.14
[14 empty] | 100 | Chlorobenzene d5 (Istd 3) | 20
[14 empty] | 101 | cis-1,2-Dimethylcyclohexane | <0.02 | <0.09
[6 empty] | 0 | [7 empty] | 102 | Chlorobenzene | <0.02 | <0.09
[6 empty] | Chemist | [7 empty] | 103 | Ethylbenzene | 0.28 | 1.2
Page 4 of 6 | [13 empty] | 104 | 1,2,4-Trimethylcyclohexane | <0.02 | <0.10
政 府 化 驗 所 |  |  |  |  | GOVERNMENT LABORATORY | [8 empty] | 105 | m-/p-Xylene | 0.98 | 5.1
Toxic Air Pollutants - Volatile Organic Compounds (VOCs) | [13 empty] | 106 | Bromoform | <0.02 | <0.20
Lab. No. : 21A580 | [13 empty] | 107 | 1,4-Dichlorobutane | <0.02 | <0.10
Sample I.D.* (Canister No.): | [13 empty] | 108 | Styrene | 0.51 | 2.2
TWSVCS210307 (A0074256) | [13 empty] | 109 | 1,1,2,2-Tetrachloroethane | <0.02 | <0.14
[14 empty] | 110 | o-Xylene | 0.25 | 1.1
| A0074256 | [12 empty] | 111 | 1-Nonene | <0.02 | <0.10
| ppbv | mg/m3 | [11 empty] | 112 | Nonane | 0.02 | 0.12
cis-3-Methyl-2-Pentene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 53 | 113 | Bromofluorobenzene (Istd 4) | 20
Methylcyclopentane | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 55 | 114 | Iso-Propylbenzene | <0.02 | <0.10
2,4-Dimethylpentane | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 56 | 115 | 3,6-Dimethyloctane | <0.02 | <0.12
2,2,3-Trimethylbutane | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 58 | 116 | m-/p-Chlorotoluene | <0.02 | <0.10
1-Methylcyclopentene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 59 | 117 | n-Propylbenzene | <0.02 | <0.10
Cyclohexane | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 62 | 118 | o-Chlorotoluene | <0.02 | <0.10
2-Methylhexane | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 64 | 119 | 3-Ethyltoluene | <0.02 | <0.10
2,3-Dimethylpentane | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 65 | 120 | 4-Ethyltoluene | <0.02 | <0.10
Cyclohexene | <0.02 | <0.07 | 0 | 0 |  |  |  | <0.02 | <0.07 | true | true | 0 | 66 | 121 | 1,3,5-Trimethylbenzene | <0.02 | <0.10
3-Methylhexane | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 67 | 122 | 2-Ethyltoluene | <0.02 | <0.10
Dibromomethane | <0.02 | <0.14 | 0 | 0 |  |  |  | <0.02 | <0.14 | true | true | 0 | 68 | 123 | Tert-Butylbenzene | <0.02 | <0.11
Bromodichloromethane | <0.02 | <0.13 | 0 | 0 |  |  |  | <0.02 | <0.13 | true | true | 0 | 70 | 124 | 1,2,4-Trimethylbenzene | 0.03 | 0.16
1-Heptene | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 72 | 125 | 1-Decene | <0.02 | <0.11
trans-3-Heptene | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 74 | 126 | Benzyl chloride | <0.02 | <0.10
Heptane | 0.04 | 0.18 | 0 | 0 |  |  |  | 0.04 | 0.18 | true | true | 0 | 75 | 127 | Decane | <0.02 | <0.12
cis-3-Heptene | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 76 | 128 | m-Dichlorobenzene | <0.02 | <0.12
trans-2-Heptene | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 77 | 129 | p-Dichlorobenzene | 0.04 | 0.22
cis-2-Heptene | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 78 | 130 | Iso-Butylbenzene | <0.02 | <0.11
2,2-Dimethylhexane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 80 | 131 | Sec-Butylbenzene | <0.02 | <0.11
Methylcyclohexane | 0.05 | 0.19 | 0 | 0 |  |  |  | 0.05 | 0.19 | true | true | 0 | 81 | 132 | 1,2,3-Trimethylbenzene | <0.02 | <0.10
2,5-Dimethylhexane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 82 | 133 | p-Cymene | <0.02 | <0.11
2,4-Dimethylhexane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 83 | 134 | o-Dichlorobenzene | <0.02 | <0.12
Bromotrichloromethane | <0.02 | <0.16 | 0 | 0 |  |  |  | <0.02 | <0.16 | true | true | 0 | 86 | 135 | Indan | <0.02 | <0.10
2,3,4-Trimethylpentane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 87 | 136 | 1,3-Diethylbenzene | <0.02 | <0.11
2-Methylheptane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 89 | 137 | 1,4-Diethylbenzene | <0.02 | <0.11
1-Methylcyclohexene | <0.02 | <0.08 | 0 | 0 |  |  |  | <0.02 | <0.08 | true | true | 0 | 90 | 138 | n-Butylbenzene | <0.02 | <0.11
4-Methylheptane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 91 | 139 | 1,2-Diethylbenzene | <0.02 | <0.11
3-Methylheptane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 92 | 140 | Undecane | 0.04 | 0.27
Dibromochloromethane | <0.02 | <0.17 | 0 | 0 |  |  |  | <0.02 | <0.17 | true | true | 0 | 93 | 141 | 1,2,3,5-Tetramethylbenzene | <0.02 | <0.11
2,2,5-Trimethylhexane | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 95 | 142 | 1,2,4,5-Tetramethylbenzene | <0.02 | <0.11
1-Octene | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 96 | 143 | 1,2,4-Trichlorobenzene | <0.02 | <0.15
Octane | 0.03 | 0.13 | 0 | 0 |  |  |  | 0.03 | 0.13 | true | true | 0 | 97 | 144 | Naphthalene | 0.27 | 1.4
trans-1,2-Dimethylcyclohexane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 98 | 145 | Dodecane | 0.16 | 1.1
cis-1,2-Dimethylcyclohexane | <0.02 | <0.09 | 0 | 0 |  |  |  | <0.02 | <0.09 | true | true | 0 | 101 | 146 | Hexachlorobutadiene | <0.02 | <0.21
1,2,4-Trimethylcyclohexane | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 104 | 147 | Hexylbenzene | <0.02 | <0.13
Bromoform | <0.02 | <0.20 | 0 | 0 |  |  |  | <0.02 | <0.20 | true | true | 0 | 106
0
Chemist
Page 5 of 6
政 府 化 驗 所 |  |  |  |  | GOVERNMENT LABORATORY
Toxic Air Pollutants - Volatile Organic Compounds (VOCs)
Lab. No. : 21A580
Sample I.D.* (Canister No.):
TWSVCS210307 (A0074256)
A0074256
| ppbv | mg/m3
1,4-Dichlorobutane | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 107
1-Nonene | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 111
Nonane | 0.02 | 0.12 | 0 | 0 |  |  |  | 0.02 | 0.12 | true | true | 0 | 112
Iso-Propylbenzene | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 114
3,6-Dimethyloctane | <0.02 | <0.12 | 0 | 0 |  |  |  | <0.02 | <0.12 | true | true | 0 | 115
m-/p-Chlorotoluene | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 116
n-Propylbenzene | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 117
o-Chlorotoluene | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 118
3-Ethyltoluene | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 119
2-Ethyltoluene | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 122
Tert-Butylbenzene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 123
1-Decene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 125
Decane | <0.02 | <0.12 | 0 | 0 |  |  |  | <0.02 | <0.12 | true | true | 0 | 127
Iso-Butylbenzene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 130
Sec-Butylbenzene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 131
1,2,3-Trimethylbenzene | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 132
p-Cymene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 133
Indan | <0.02 | <0.10 | 0 | 0 |  |  |  | <0.02 | <0.10 | true | true | 0 | 135
1,3-Diethylbenzene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 136
1,4-Diethylbenzene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 137
n-Butylbenzene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 138
1,2-Diethylbenzene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 139
Undecane | 0.04 | 0.27 | 0 | 0 |  |  |  | 0.04 | 0.27 | true | true | 0 | 140
1,2,3,5-Tetramethylbenzene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 141
1,2,4,5-Tetramethylbenzene | <0.02 | <0.11 | 0 | 0 |  |  |  | <0.02 | <0.11 | true | true | 0 | 142
Naphthalene | 0.27 | 1.4 | 0 | 0 |  |  |  | 0.27 | 1.4 | true | true | 0 | 144
Dodecane | 0.16 | 1.1 | 0 | 0 |  |  |  | 0.16 | 1.1 | true | true | 0 | 145
Hexylbenzene | <0.02 | <0.13 | 0 | 0 |  |  |  | <0.02 | <0.13 | true | true | 0 | 147
Notes :
1. The results apply to the sample(s) as received.
2. The results are calculated with gases volume at 25°C and 760 mm Hg.
3. When the test results lie between MDL (0.02 ppbv) and PQL (0.10 ppbv), they are estimated values and should be used for reference only.
4. # indicates that the ratio of target ion to qualifier ion and/or the retention time of VOC falls outside the pre-set limits.
5. Parameters marked with “<” represent the values that are below the MDL of the method.
0
Chemist
********End of Report********
Page 6 of 6